**PERIODIC TEST REPORTING FORM**

**FIRE SERVICE / EMERGENCY POWER**

**ELEVATOR SAFETY INSPECTION 10946 GOLDEN WEST DR, #160 HUNT VALLEY, MD 21031**

# ALL WORK IS TO BE PERFORMED IN ACCORDANCE WITH THE REQUIREMENTS OF THE APPROPRIATE ASME A17.1 CODE.

For each elevator tested, list the State Registration number found in the elevator machine room:

# FIRE ALARM INITIATING DEVICE (FAID) – Applicable Code Year:

All FAID’S related to the elevator operation except designated level, returned elevator(s) to the designated level (key floor) Yes No The designated floor FAID sent the elevator(s) to the alternate level, floor number as required by the

ASME A17.1 Elevator Code.

# STAND-BY EMERGENCY POWER TEST - Applicable Code Year:

**CHECK ONE: ANNUAL TEST ASME A17.1 FIVE YEAR TEST ASME A17.1 OTHER:**

Annually, elevator(s) equipped with stand-by emergency power are required to be tested using the emergency power system with no load.

* 1. Did the elevator(s) operate simultaneously while on stand-by emergency power? Yes No If NO, explain:
  2. Did the elevators operate in accordance with the above elevator Code? Yes No

|  |  |  |  |
| --- | --- | --- | --- |
| Site Name: | Address: | | |
| City, State, Zip: | | | |
| Name of Testing Firm: | | | Date Tested: |
| Mechanic Name: (print) | | Sign: | |
| Mechanic License Number: | | | |
| TPQEI Name: (print) | | Sign: | |
| TPQEI License Number: (print) | |  | |

SAFETY INSPECTION PHONE: 410.767.2990 EMAIL: [3RDPARTY.REPORTS@MARYLAND.GOV](mailto:3RDPARTY.REPORTS@MARYLAND.GOV)